## Power Calculator
| SeaGuardII DCP Power Calculator | [13 empty] | SeaGuardII DCP | [10 empty] | Temperature Sensor | [5 empty] | Oxygen Optode
[15 empty] | Selecting Broad Band or Narrow Band | [24 empty] | ZPulse Doppler Current Sensor
[22 empty] | Pressure Sensor | [6 empty] | Conductivity Sensor | [5 empty] | Turbidity Sensor
Scenario | Recording Group for DCPS (Doppler Current Profiler Sensor) | [19 empty] | Recording Group for additional sensors | [11 empty] | Recording Group for additional sensors | [11 empty] | Battery |  | Power Consumption Distribution |  |  | Average Current Consumption | Deployment Time | Single Ping Standard Deviation |  |  | Velocity precision (horizontal)
|  | Common |  |  |  | Column1 |  |  |  | Column2 |  |  |  | Column3 |  |  |  | Acoustic Directional Wave Calculation |  |  |  | Pressure | Temperature | Conductivity | Oxygen | Turbidity | Wave & Tide |  |  |  | DCS (Doppler Current Sensor, single point) |  |  | Pressure | Temperature | Conductivity | Oxygen | Turbidity | Wave & Tide |  |  |  | DCS (Doppler Current Sensor, single point) |  | Selection | Usable Capacity | Currents and Data Logging | Wave | Additional Sensors |  |  | Column1 | Column2 | Column3 | Column1 | Column2 | Column3
| Interval [min] | Mode | Number of pings | Depth [m] | Surface Cell | Number of Cells | Distance to first cell [m] | Cell Size [m] | Surface referenced | Number of Cells | Distance to first cell [m] | Cell Size [m] | Surface referenced | Number of Cells | Distance to first cell [m] | Cell Size [m] | Surface referenced | Enabled | Ping Frequency | Wave Integration Time | Interval [min] | Number of sensors | Number of sensors | Number of sensors | Number of sensors | Number of sensors | Number of sensors | Sampling frequency | Tidal average period | Waves number of samples | Number of sensors | Number of pings | Interval [min] | Number of sensors | Number of sensors | Number of sensors | Number of sensors | Number of sensors | Number of sensors | Sampling frequency | Tidal average period | Waves number of samples | Number of sensors | Number of pings | Enter total battery capacity in Ah or select battery option from drop down list | [Ah] | [%] | [%] | [%] | [mA] | [Days] | [cm/s] | [cm/s] | [cm/s] | [cm/s] | [cm/s] | [cm/s]
1 |  | Broad Band | 10 | 50 | No | 1 | 1 | 2 | No | 0 | 1 | 2 | No | 0 | 2 | 3 | Yes | No | 2 Hz | 25 min | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 4 Hz | 20s | 2048 | 0 | 150 | 3 | 0 | 0 | 0 | 0 | 0 | 2 | 4 Hz | 20s | 2048 | 0 | 150 | 1 x 3908 7V Lithium (internal) | 35 | 1.586% | 0% | 98.41% | 31.5289 | 46.2539
2 | 5 | Broad Band | 70 | 50 | No | 20 | 1 | 2 | No | 0 | 1 | 2 | No | 0 | 2 | 3 | Yes | No | 2 Hz | 25 min | 60 | 1 | 0 | 1 | 1 | 1 | 0 | 4 Hz | 20s | 2048 | 0 | 150 |  | 0 | 0 | 0 | 0 | 0 | 0 | 4 Hz | 20s | 2048 | 0 | 150 | 1 x 3908 7V Lithium (internal) | 35 | 98.44% | 0% | 1.559% | 53.3465 | 27.337 | 3 | 3 | 2.5 | 0.35857 | 0.35857 | 0.29881
3 |  | Broad Band | 50 | 40 | Yes | 40 | 2 | 1 | No | 0 | 30 | 2 | Yes | 0 | 2 | 2 | Yes | No | 4 Hz | 25 min | 60 | 1 | 1 | 1 | 1 | 0 | 0 | 4 Hz | 20s | 512 | 1 | 150 |  | 0 | 0 | 0 | 0 | 0 | 0 | 4 Hz | 20s | 512 | 0 | 150 | 1 x 3908 7V Lithium (internal) | 35 | 24.07% | 0% | 67.58% | 2.0769 | 702.1533
4 | 30 | Narrow Band | 200 | 50 | Yes | 40 | 2 | 1 | No | 0 |  |  |  | 0 |  |  |  | No | 2 Hz | 25 min | 30 | 0 | 1 | 1 | 1 | 0 | 0 | 4 Hz | 20s | 512 | 0 | 150 |  | 0 | 0 | 0 | 0 | 0 | 1 | 4 Hz | 20s | 2048 | 0 | 150 | 2 x 3908 7V Lithium (internal) | 70 | 91.58% | 0% | 6.898% | 12.2421 | 238.248 | 45 | #N/A | #N/A | 3.182 | #N/A | #N/A
5 | 30 | Narrow Band | 20 | 60 | No | 60 | 2 | 2 | Yes | 0 | 1 | 1 | No | 0 | 2 | 3 | Yes | No | 2 Hz | 20 min |  | 0 | 1 | 1 | 1 | 0 | 2 | 2 Hz | 40s | No wave! | 0 | 150 |  | 0 | 0 | 0 | 0 | 0 | 0 | 4 Hz | 20s | No wave! | 0 | 150 | 2 x 3988 9V Alkaline (internal) | 30 | 67.14% | 0% | 29.03% | 4.1687 | 299.856 | 22 | 45 | 15 | 4.9193 | 10.0623 | 3.3541
Interactive TD 306, December 2023

## Narrow Band (hidden)
SeaguardII DCP Power Calculator
Narrow Band Mode
Configuration | [52 empty] | Average
Common |  |  |  | Column0 |  | Column1 | [5 empty] | Column2 | [5 empty] | Column3 | [34 empty] | Current Consumption
Interval [min] | Number of pings | Depth [m] | Surface Cell | min SD | max SD | Number of Cells | Distance to first cell [m] | Cell Size [m] | Surface referenced | min SD | max SD | Number of Cells | Distance to first cell [m] | Cell Size [m] | Surface referenced | min SD | max SD | Number of Cells | Distance to first cell [m] | Cell Size [m] | Surface referenced | min SD | max SD | Tot SD | 0,5m Cells | 1m Cells | 1,5m Cells | 2m Cells | 2,5m Cells | 3m Cells | 3,5m Cells | 4m cells | 4,5m Cells | 5m Cells | Tx | Col | Current | Amb | Tx Offset | Tx Slope | Sample | Cell05 | Cell1 | Cell1.5 | cell2 | Cell2.5 | cell3 | Cell3.5 | cell4 | Cell4.5 | cell5 | DCPS/Logger Quiescent | [mA]
0 | 10 | 50 | No | 0 | 0 | 1 | 1 | 2 | No | 1 | 3 | 0 | 1 | 2 | No | 0 | 0 | 0 | 2 | 3 | 25 min | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | #DIV/0! | 0.0007 | 0.00022935 | 9.9317e-05 | 9.2977e-06 | 1.0161e-05 | 1.1473e-05 | 1.287e-05 | 1.4268e-05 | 1.5646e-05 | 1.7023e-05 | 2.4004e-05 | 3.0985e-05 | 3.1063e-05 | 3.1141e-05 | 0.5 | 0.5
5 | 70 | 50 | No | 0 | 0 | 20 | 1 | 2 | No | 1 | 41 | 0 | 1 | 2 | No | 0 | 0 | 0 | 2 | 3 | 25 min | 0 | 0 | 40 | 0 | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0.015894 | 1.0007 | 0.00022935 | 9.9317e-05 | 9.2977e-06 | 1.0161e-05 | 1.1473e-05 | 1.287e-05 | 1.4268e-05 | 1.5646e-05 | 1.7023e-05 | 2.4004e-05 | 3.0985e-05 | 3.1063e-05 | 3.1141e-05 | 0.5 | 19.5723
0 | 50 | 40 | Yes | 38 | 40 | 40 | 2 | 1 | No | 2 | 42 | 0 | 30 | 1 | Yes | 0 | 0 | 0 | 2 | 2 | 25 min | 0 | 0 | 40 | 0 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | #DIV/0! | 2.0007 | 0.00022935 | 9.9317e-05 | 9.2977e-06 | 1.0161e-05 | 1.1473e-05 | 1.287e-05 | 1.4268e-05 | 1.5646e-05 | 1.7023e-05 | 2.4004e-05 | 3.0985e-05 | 3.1063e-05 | 3.1141e-05 | 0.5 | 0.5
30 | 200 | 50 | Yes | 48 | 50 | 40 | 2 | 1 | No | 2 | 42 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 25 min | 0 | 0 | 48 | 0 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0.0089259 | 3.0007 | 0.00022935 | 9.9317e-05 | 9.2977e-06 | 1.0161e-05 | 1.1473e-05 | 1.287e-05 | 1.4268e-05 | 1.5646e-05 | 1.7023e-05 | 2.4004e-05 | 3.0985e-05 | 3.1063e-05 | 3.1141e-05 | 0.5 | 11.211
30 | 20 | 60 | No | 0 | 0 | 60 | 2 | 2 | Yes | 2 | 60 | 0 | 1 | 1 | No | 0 | 0 | 0 | 2 | 3 | 20 min | 0 | 0 | 58 | 0 | 0 | 0 | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0.0019156 | 4.0007 | 0.00022935 | 9.9317e-05 | 9.2977e-06 | 1.0161e-05 | 1.1473e-05 | 1.287e-05 | 1.4268e-05 | 1.5646e-05 | 1.7023e-05 | 2.4004e-05 | 3.0985e-05 | 3.1063e-05 | 3.1141e-05 | 0.5 | 2.7987
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 5.0007 | 0.00022935 | 9.9317e-05 | 9.2977e-06 | 1.0161e-05 | 1.1473e-05 | 1.287e-05 | 1.4268e-05 | 1.5646e-05 | 1.7023e-05 | 2.4004e-05 | 3.0985e-05 | 3.1063e-05 | 3.1141e-05 |  | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 6.0007 | 0.00022935 | 9.9317e-05 | 9.2977e-06 | 1.0161e-05 | 1.1473e-05 | 1.287e-05 | 1.4268e-05 | 1.5646e-05 | 1.7023e-05 | 2.4004e-05 | 3.0985e-05 | 3.1063e-05 | 3.1141e-05 |  | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 7.0007 | 0.00022935 | 9.9317e-05 | 9.2977e-06 | 1.0161e-05 | 1.1473e-05 | 1.287e-05 | 1.4268e-05 | 1.5646e-05 | 1.7023e-05 | 2.4004e-05 | 3.0985e-05 | 3.1063e-05 | 3.1141e-05 |  | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 8.0007 | 0.00022935 | 9.9317e-05 | 9.2977e-06 | 1.0161e-05 | 1.1473e-05 | 1.287e-05 | 1.4268e-05 | 1.5646e-05 | 1.7023e-05 | 2.4004e-05 | 3.0985e-05 | 3.1063e-05 | 3.1141e-05 |  | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 9.0007 | 0.00022935 | 9.9317e-05 | 9.2977e-06 | 1.0161e-05 | 1.1473e-05 | 1.287e-05 | 1.4268e-05 | 1.5646e-05 | 1.7023e-05 | 2.4004e-05 | 3.0985e-05 | 3.1063e-05 | 3.1141e-05 |  | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 10.0007 | 0.00022935 | 9.9317e-05 | 9.2977e-06 | 1.0161e-05 | 1.1473e-05 | 1.287e-05 | 1.4268e-05 | 1.5646e-05 | 1.7023e-05 | 2.4004e-05 | 3.0985e-05 | 3.1063e-05 | 3.1141e-05 |  | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 11.0007 | 0.00022935 | 9.9317e-05 | 9.2977e-06 | 1.0161e-05 | 1.1473e-05 | 1.287e-05 | 1.4268e-05 | 1.5646e-05 | 1.7023e-05 | 2.4004e-05 | 3.0985e-05 | 3.1063e-05 | 3.1141e-05 |  | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12.0007 | 0.00022935 | 9.9317e-05 | 9.2977e-06 | 1.0161e-05 | 1.1473e-05 | 1.287e-05 | 1.4268e-05 | 1.5646e-05 | 1.7023e-05 | 2.4004e-05 | 3.0985e-05 | 3.1063e-05 | 3.1141e-05 |  | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 13.0007 | 0.00022935 | 9.9317e-05 | 9.2977e-06 | 1.0161e-05 | 1.1473e-05 | 1.287e-05 | 1.4268e-05 | 1.5646e-05 | 1.7023e-05 | 2.4004e-05 | 3.0985e-05 | 3.1063e-05 | 3.1141e-05 |  | #REF!
2

## BB (hidden)
SeaguardII DCP Power Calculator
Broad Band Mode
Configuration | [59 empty] | Wave Calculation |  |  |  |  | Average
Common |  |  |  |  | Column0 |  |  | Column1 | [5 empty] | Column2 | [5 empty] | Column3 | [44 empty] | Current Consumption
Interval [Min] | Number of pings | Depth [m] | Mode | Surface Cell | DC1 | Cell Size | #Cells | Distance to first cell [m] | Cell Size [m] | Number of Cells | Surface referenced | min SD | max SD | Distance to first cell | Cell Size [m] | Number of Cells | Surface referenced | min SD | max SD | Distance to first cell | Cell Size [m] | Number of Cells | Surface referenced | min SD | max SD | min tot SD | Tot SD | 0.5m Cells | 1m Cells | 1.5m Cells | 2m Cells | Tot 2m Cells | 2.5m Cells | 3m Cells | 3.5m Cells | 4m cells | 4.5m Cells | 5m Cells | Tx | Col | Current | SeaGuardII Recording Group for additional sensors | Amb | TX | SurfaceCell | Cell2m | Cell15 | Cell1 | Cell25 | Cell3 | Tot_Sum | SumCell | Cell45 | Cell35 | Cell4 | Cell5 | Col | Cell05 | DCPS/Logger Quiescent | Integration time (s) | Ping Frequency (Hz) | No.Pings | mAh/ ping | Average current Consumption | [mA]
0 | 10 | 50 |  | No | 2 | 2 | 7 | 1 | 2 | 1 | No | 1 | 3 | 1 | 2 | 0 | No | 0 | 0 | 2 | 3 | 0 | 25 min | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 1 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 3 | #DIV/0! | 1 | 0.0013605 | 0.020766 | 0.016501 | 0.0046722 | 0.0030562 | 0.0014402 | 0.0060783 | 0.0074845 | 0.082306 | 0.025934 | 0.011125 | 0.0088907 | 0.010297 | 0.011953 | 0.0081456 | 0.0011092 | 0.5 | 0 | 2 | 0 | 0.055 | 0 | 0.5
5 | 70 | 50 |  | No | 2 | 2 | 7 | 1 | 2 | 20 | No | 1 | 41 | 1 | 2 | 0 | No | 1 | 1 | 2 | 3 | 0 | 25 min | 2 | 2 | 2 | 40 | 0 | 0 | 0 | 20 | 27 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 3 | 0.043346 | 60 | 0.0013605 | 0.020766 | 0.016501 | 0.0046722 | 0.0030562 | 1.0014 | 0.0060783 | 0.0074845 | 0.082306 | 0.025934 | 0.011125 | 0.0088907 | 0.010297 | 0.011953 | 0.0081456 | 0.0011092 | 0.5 | 0 | 2 | 0 | 0.055 | 0 | 52.5149
0 | 50 | 40 |  | Yes | 2 | 2 | 16 | 2 | 1 | 40 | No | 2 | 42 | 30 | 2 | 0 | Yes | 30 | 30 | 2 | 2 | 0 | 25 min | 2 | 2 | 30 | 40 | 0 | 40 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 4 | #DIV/0! | 60 | 0.0013605 | 0.020766 | 0.016501 | 0.0046722 | 0.0030562 | 2.0014 | 0.0060783 | 0.0074845 | 0.082306 | 0.025934 | 0.011125 | 0.0088907 | 0.010297 | 0.011953 | 0.0081456 | 0.0011092 | 0.5 | 0 | 4 | 0 | 0.055 | 0 | 0.5
30 | 200 | 50 |  | Yes | 2 | 2 | 7 | 2 | 1 | 40 | No | 2 | 42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25 min | 0 | 0 | 2 | 40 | 0 | 40 | 0 | 0 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0.018873 | 30 | 0.0013605 | 0.020766 | 0.016501 | 0.0046722 | 0.0030562 | 3.0014 | 0.0060783 | 0.0074845 | 0.082306 | 0.025934 | 0.011125 | 0.0088907 | 0.010297 | 0.011953 | 0.0081456 | 0.0011092 | 0.5 | 0 | 2 | 0 | 0.055 | 0 | 23.148
30 | 20 | 60 |  | No | 2 | 2 | 7 | 2 | 2 | 60 | Yes | 2 | 60 | 1 | 1 | 0 | No | 1 | 1 | 2 | 3 | 0 | 20 min | 2 | 2 | 2 | 58 | 0 | 0 | 0 | 60 | 67 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 3 | 0.0062511 | 0 | 0.0013605 | 0.020766 | 0.016501 | 0.0046722 | 0.0030562 | 4.0014 | 0.0060783 | 0.0074845 | 0.082306 | 0.025934 | 0.011125 | 0.0088907 | 0.010297 | 0.011953 | 0.0081456 | 0.0011092 | 0.5 | 0 | 2 | 0 | 0.055 | 0 | 8.0013
#REF! | #REF! | #REF! |  | #REF! | 2 | 2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0.0013605 | 0.020766 | 0.016501 | 0.0046722 | 0.0030562 | 5.0014 | 0.0060783 | 0.0074845 | 0.082306 | 0.025934 | 0.011125 | 0.0088907 | 0.010297 | 0.011953 | 0.0081456 | 0.0011092 | 0.5 | 0 | #N/A | #N/A | 0.055 | #REF! | #REF!
#REF! | #REF! | #REF! |  | #REF! | 2 | 2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0.0013605 | 0.020766 | 0.016501 | 0.0046722 | 0.0030562 | 6.0014 | 0.0060783 | 0.0074845 | 0.082306 | 0.025934 | 0.011125 | 0.0088907 | 0.010297 | 0.011953 | 0.0081456 | 0.0011092 | 0.5 | 0 | #N/A | #N/A | 0.055 | #REF! | #REF!
#REF! | #REF! | #REF! |  | #REF! | 2 | 2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0.0013605 | 0.020766 | 0.016501 | 0.0046722 | 0.0030562 | 7.0014 | 0.0060783 | 0.0074845 | 0.082306 | 0.025934 | 0.011125 | 0.0088907 | 0.010297 | 0.011953 | 0.0081456 | 0.0011092 | 0.5 | 0 | #N/A | #N/A | 0.055 | #REF! | #REF!
#REF! | #REF! | #REF! |  | #REF! | 2 | 2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0.0013605 | 0.020766 | 0.016501 | 0.0046722 | 0.0030562 | 8.0014 | 0.0060783 | 0.0074845 | 0.082306 | 0.025934 | 0.011125 | 0.0088907 | 0.010297 | 0.011953 | 0.0081456 | 0.0011092 | 0.5 | 0 | #N/A | #N/A | 0.055 | #REF! | #REF!
#REF! | #REF! | #REF! |  | #REF! | 2 | 2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0.0013605 | 0.020766 | 0.016501 | 0.0046722 | 0.0030562 | 9.0014 | 0.0060783 | 0.0074845 | 0.082306 | 0.025934 | 0.011125 | 0.0088907 | 0.010297 | 0.011953 | 0.0081456 | 0.0011092 | 0.5 | 0 | #N/A | #N/A | 0.055 | #REF! | #REF!
#REF! | #REF! | #REF! |  | #REF! | 2 | 2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0.0013605 | 0.020766 | 0.016501 | 0.0046722 | 0.0030562 | 10.0014 | 0.0060783 | 0.0074845 | 0.082306 | 0.025934 | 0.011125 | 0.0088907 | 0.010297 | 0.011953 | 0.0081456 | 0.0011092 | 0.5 | 0 | #N/A | #N/A | 0.055 | #REF! | #REF!
#REF! | #REF! | #REF! |  | #REF! | 2 | 2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0.0013605 | 0.020766 | 0.016501 | 0.0046722 | 0.0030562 | 11.0014 | 0.0060783 | 0.0074845 | 0.082306 | 0.025934 | 0.011125 | 0.0088907 | 0.010297 | 0.011953 | 0.0081456 | 0.0011092 | 0.5 | 0 | #N/A | #N/A | 0.055 | #REF! | #REF!
#REF! | #REF! | #REF! |  | #REF! | 2 | 2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0.0013605 | 0.020766 | 0.016501 | 0.0046722 | 0.0030562 | 12.0014 | 0.0060783 | 0.0074845 | 0.082306 | 0.025934 | 0.011125 | 0.0088907 | 0.010297 | 0.011953 | 0.0081456 | 0.0011092 | 0.5 | 0 | #N/A | #N/A | 0.055 | #REF! | #REF!
#REF! | #REF! | #REF! |  | #REF! | 2 | 2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0.0013605 | 0.020766 | 0.016501 | 0.0046722 | 0.0030562 | 13.0014 | 0.0060783 | 0.0074845 | 0.082306 | 0.025934 | 0.011125 | 0.0088907 | 0.010297 | 0.011953 | 0.0081456 | 0.0011092 | 0.5 | 0 | #N/A | #N/A | 0.055 | #REF! | #REF!

## Lists (hidden)
Cell Size | Number of Cells | Number of pings | Dist First Cell | True/False | Interval | Mode |  | Wave & Tide sensor
| 0 |  |  |  |  | Narrow Band | [12 empty] | Single Ping Standard Deviation |  |  |  | Wave Integration Time
0.5 | 1 | 10 | 1 | Yes | 1 | Broad Band |  | Frequency |  |  | Number of Samples |  |  | Tidal Average period |  |  | No of sensors |  | Cellsize | Narrow Band | Broad Band |  | 1 | 5 min | 300
1 | 2 | 20 | 1.1 | No | 2 |  |  | 1 | 2 Hz | 2 | 1 | No wave! | 0 | 1 | No Tide! | 0 | 0 |  | 0.5 | 90 | 6 |  | 2 | 10 min | 600
1.5 | 3 | 30 | 1.2 |  | 3 |  |  | 2 | 4 Hz | 4 | 2 | 256 | 256 | 2 | 10s | 10 | 1 |  | 1 | 45 | 4.3 |  | 3 | 15 min | 900
2 | 4 | 40 | 1.3 |  | 5 | [5 empty] | 3 | 512 | 512 | 3 | 20s | 20 | 2 |  | 1.5 | 30 | 3.5 |  | 4 | 20 min | 1200
2.5 | 5 | 50 | 1.4 |  | 6 | [5 empty] | 4 | 1024 | 1024 | 4 | 30s | 30 | 3 |  | 2 | 22 | 3 |  | 5 | 25 min | 1500
3 | 6 | 60 | 1.5 |  | 10 | [5 empty] | 5 | 2048 | 2048 | 5 | 40s | 40 | 4 |  | 2.5 | 18 | 2.7 |  | 6 | 30 min | 1800
3.5 | 7 | 70 | 1.6 |  | 15 | [8 empty] | 6 | 50s | 50 | 5 |  | 3 | 15 | 2.5
4 | 8 | 80 | 1.7 |  | 20 | [8 empty] | 7 | 1 min | 60 | 6 |  | 3.5 | 13 | 2.3
4.5 | 9 | 90 | 1.8 |  | 30 | [8 empty] | 8 | 2 min | 120 | 7 |  | 4 | 12 | 2.2
5 | 10 | 100 | 1.9 |  | 60 | [8 empty] | 9 | 3 min | 180 | 8 |  | 4.5 | 11 | 2
| 12 | 150 | 2 |  | 120 | [8 empty] | 10 | 4 min | 240 | 9 |  | 5 | 10 | 1.9
| 15 | 200 | 2.1 | [10 empty] | 11 | 5 min | 300 | 10
| 20 | 250 | 2.2 | [10 empty] | 12 | 6 min | 360
| 25 | 300 | 2.3 | [10 empty] | 13 | 7 min | 420
| 30 | 400 | 2.4 | [10 empty] | 14 | 8 min | 480
| 35 | 500 | 2.5 | [18 empty] | 1500
| 40 | 600 | 2.6 | [18 empty] | 25 min
| 45 | 800 | 2.7 | [18 empty] | 5 min | 300
| 50 | 1200 | 2.8 | [18 empty] | 10 min | 600
| 55 | 2400 | 2.9 |  |  |  | DCS Pings | [14 empty] | 15 min | 900
| 60 | 3600 | 3 |  |  |  | 50 | [9 empty] | Battery | Ah |  |  |  | 20 min | 1200
| 65 |  | 3.5 |  |  |  | 60 | [9 empty] | 1 x 3988 9V Alkaline (internal) | 15 |  |  |  | 25 min | 1500
| 70 |  | 4 |  |  |  | 75 | [9 empty] | 2 x 3988 9V Alkaline (internal) | 30 |  |  |  | 30 min | 1800
| 75 |  | 4.5 |  |  |  | 100 | [9 empty] | 1 x 3908 7V Lithium (internal) | 35
|  |  | 5 |  |  |  | 150 | [9 empty] | 2 x 3908 7V Lithium (internal) | 70
|  |  | 5.5 |  |  |  | 200 | [9 empty] | 1 x 4021 12V 28Ah Lead Rechargable (external) | 14
|  |  | 6 |  |  |  | 250 | [9 empty] | 2 x 4021 12V 28Ah Lead Rechargable (external) | 28
|  |  | 6.5 |  |  |  | 300 | [9 empty] | 3 x 4021 12V 28Ah Lead Rechargable (external) | 42
|  |  | 7 |  |  |  | 350
|  |  | 7.5 |  |  |  | 400
|  |  | 8 |  |  |  | 450
|  |  | 8.5 |  |  |  | 500
|  |  | 9 |  |  |  | 550
|  |  | 9.5 |  |  |  | 600
10
11
12
13
14
15
16
17
18
19
20
22
24
26
28
30
32
34
36
38
40
42
44
46
48
50
55
60
65
70

## Sensors (hidden)
Second Group | [5 empty] | Average power consumption [mA] | [12 empty] | DCS
[6 empty] | Pressure | Temperature | Conductivity | Oxygen | Turbidity | [8 empty] | Interval (s) | No. of Pings | Pingrate | Quiescent | Current/pingrate | Avr Current(mA)
[5 empty] | B13 | 0.48333 | 0.48333 | 0.96 | 0.96 | 0.88667 | [8 empty] | 60 | 150 | 2.5 | 0.2 | 12.54 | 31.55 | [5 empty] | 0.6
[5 empty] | B14 | 0.25389 | 0.25389 | 0.17333 | 0.17333 | 0.23111 | [8 empty] | 3600 | 150 | 0.041667 | 0.2 | 12.54 | 0.7225 | [5 empty] | 12.54 | Avvik
[5 empty] | B15 | 0.25389 | 0.25389 | 0.17333 | 0.17333 | 0.23111 | [8 empty] | 3600 | 150 | 0.041667 | 0.2 | 12.54 | 0.7225 | Interval (min) | Interval (s) | Pings | Pingrate | Current
[5 empty] | B16 | 0.25778 | 0.25778 | 0.18667 | 0.18667 | 0.24222 | [8 empty] | 1800 | 150 | 0.083333 | 0.2 | 12.54 | 1.245 | 120 | 7200 | 50 | 0.0069444 | 0.68 | 0.68708 | 1.042%
[5 empty] | B17 | 0.25 | 0.25 | 0.16 | 0.16 | 0.22 | [8 empty] | 600000000 | 150 | 2.5e-07 | 0.2 | 12.54 | 0.2 | 120 | 7200 | 600 | 0.083333 | 1.7 | 1.645 | -3.235%
[25 empty] | 30 | 1800 | 600 | 0.33333 | 5 | 4.78 | -4.4%
1800 | [6 empty] | WT Current drain mA |  |  | T CURRENT DRAIN: |  |  | P CURRENT DRAIN |  |  | Average current drain | [8 empty] | 10 | 600 | 600 | 1 | 13.9 | 13.14 | -5.468%
Interval |  | Sampling frequency | Number of samples | Tidal average period | Wave Coefficient: | Tide Coefficients | AiCaP mode | RS-232 mode | RS-422 mode | AiCaP mode | RS-232 mode | RS-422 mode | AiCaP mode | RS-232 mode | RS-422 mode | AiCaP mode | [8 empty] | 5 | 300 | 600 | 2 | 24 | 25.68 | 7%
1 | B13 | 4 | 2048 | 2 | 8.5333 | 0.033333 | 9.2833 | 38 | 38 | 0.69333 | 0.73333 | 1.42 | 0.49 | 24.4 | 23.1 | 9.2833 | s | 2 | [6 empty] | 1 | 60 | 600 | 10 | 116 | 126.0001 | 8.621%
60 | B14 | 4 | 2048 | 2 | 0.14222 | 0.00055556 | 1.6516 | 85.7333 | 83.02 | 0.40489 | 0.40556 | 1.1053 | 0.4015 | 0.8 | 1.4667 | 1.6516 | s | 2
60 | B15 | 4 | 512 | 2 | 0.035556 | 0.00055556 | 0.71289 | 21.7333 | 21.58 | 0.40489 | 0.40556 | 1.1053 | 0.4015 | 0.8 | 1.4667 | 0.71289 | s | 2
30 | B16 | 4 | 512 | 2 | 0.071111 | 0.0011111 | 1.0258 | 43.0667 | 42.06 | 0.40978 | 0.41111 | 1.1107 | 0.403 | 1.2 | 1.8333 | 1.0258 | s | 2
10000000 | B17 | 2 | 0 | 4 | 0 | 6.6667e-09 | 0.4 | 0.4 | 1.1 | 0.4 | 0.4 | 1.1 | 0.4 | 0.4 | 1.1 | 0.4 | s | 4
Third Group |  |  | FALSE
[6 empty] | Average power consumption [mA] | [12 empty] | DCS
[6 empty] | Pressure | Temperature | Conductivity | Oxygen | Turbidity | [8 empty] | Interval (s) | No. of Pings | Pingrate | Quiescent | Current/pingrate | Avr Current(mA)
[5 empty] | B13 | 0.32778 | 0.32778 | 0.42667 | 0.42667 | 0.44222 | [8 empty] | 180 | 150 | 0.83333 | 0.2 | 12.54 | 10.65
[5 empty] | B14 | 0.25 | 0.25 | 0.16 | 0.16 | 0.22 | [8 empty] | 600000000 | 150 | 2.5e-07 | 0.2 | 12.54 | 0.2
[5 empty] | B15 | 0.25 | 0.25 | 0.16 | 0.16 | 0.22 | [8 empty] | 600000000 | 150 | 2.5e-07 | 0.2 | 12.54 | 0.2
[5 empty] | B16 | 0.25 | 0.25 | 0.16 | 0.16 | 0.22 | [8 empty] | 600000000 | 150 | 2.5e-07 | 0.2 | 12.54 | 0.2
[5 empty] | B17 | 0.25 | 0.25 | 0.16 | 0.16 | 0.22 | [8 empty] | 600000000 | 150 | 2.5e-07 | 0.2 | 12.54 | 0.2
1800 | [6 empty] | WT Current drain mA |  |  | T CURRENT DRAIN: |  |  | P CURRENT DRAIN |  |  | Average current drain
Interval |  | Sampling frequency | Number of samples | Tidal average period | Wave Coefficient: | Tide Coefficients | AiCaP mode | RS-232 mode | RS-422 mode | AiCaP mode | RS-232 mode | RS-422 mode | AiCaP mode | RS-232 mode | RS-422 mode | AiCaP mode
3 | B13 | 4 | 2048 | 2 | 2.8444 | 0.011111 | 9.2278 | 19.3333 | 19.3333 | 0.49778 | 0.51111 | 1.2067 | 0.43 | 8.4 | 8.4333 | 9.2278 | s | 2
10000000 | B14 | 4 | 2048 | 2 | 8.5333e-07 | 3.3333e-09 | 0.40001 | 0.40051 | 1.1005 | 0.4 | 0.4 | 1.1 | 0.4 | 0.4 | 1.1 | 0.40001 | s | 2
10000000 | B15 | 4 | 512 | 2 | 2.1333e-07 | 3.3333e-09 | 0.4 | 0.40013 | 1.1001 | 0.4 | 0.4 | 1.1 | 0.4 | 0.4 | 1.1 | 0.4 | s | 2
10000000 | B16 | 4 | 2048 | 2 | 8.5333e-07 | 3.3333e-09 | 0.40001 | 0.40051 | 1.1005 | 0.4 | 0.4 | 1.1 | 0.4 | 0.4 | 1.1 | 0.40001 | s | 2
10000000 | B17 | 4 | 0 | 2 | 0 | 3.3333e-09 | 0.4 | 0.4 | 1.1 | 0.4 | 0.4 | 1.1 | 0.4 | 0.4 | 1.1 | 0.4 | s | 2