## Power Calculator
SeaGuardII DCP Power Calculator
SeaGuardII Recorder | DCPS Configuration | [15 empty] | Additional sensors | [7 empty] | Battery |  |  | Single Ping Standard Deviation |  |  | Velocity precision (horizontal)
| Common |  |  |  | Column1 |  |  |  | Column2 |  |  |  | Column3 |  |  |  | Pressure | Temperature | Conductivity | Oxygen | Wave & Tide |  |  |  | Capacity | Average Current Consumption | Deployment Time | Column1 | Column2 | Column3 | Column1 | Column2 | Column3
Interval [min] | Mode | Number of pings | Depth [m] | Surface Cell | Number of Cells | Distance to first cell [m] | Cell Size [m] | Surface referenced | Number of Cells | Distance to first cell [m] | Cell Size [m] | Surface referenced | Number of Cells | Distance to first cell [m] | Cell Size [m] | Surface referenced | [5 empty] | Sampling frequency | Tidal average period | Waves number of samples | [Ah] | [mA] | [Days] | [cm/s] | [cm/s] | [cm/s] | [cm/s] | [cm/s] | [cm/s]
10 | Narrow Band | 150 | 50 | No | 2 | 2 | 2 | No | 0 | 1 | 1 | No | 0 | 2 | 3 | Yes | No | No | No | No | No | 4 Hz | 20s | No wave! | 70 | 9.7268 | 299.8576 | 22 | 45 | 15 | 1.7963 | 3.6742 | 1.2247
10 | Narrow Band | 30 | 50 | No | 2 | 2 | 2 | No | 0 | 1 | 1 | No | 0 | 2 | 2 | Yes | No | No | No | No | No | 4 Hz | 20s | 2048 | 70 | 2.6174 | 1114.3511 | 22 | 45 | 22 | 4.0166 | 8.2158 | 4.0166
70
70
70
Interactive TD 306, May 2018

## Narrow Band (hidden)
SeaguardII DCP Power Calculator
Narrow Band Mode
Configuration | [51 empty] | Average
Common |  |  |  | Column0 |  | Column1 | [5 empty] | Column2 | [5 empty] | Column3 | [33 empty] | Current Consumption
Interval [min] | Number of pings | Depth [m] | Surface Cell | min SD | max SD | Number of Cells | Distance to first cell [m] | Cell Size [m] | Surface referenced | min SD | max SD | Number of Cells | Distance to first cell [m] | Cell Size [m] | Surface referenced | min SD | max SD | Number of Cells | Distance to first cell [m] | Cell Size [m] | Surface referenced | min SD | max SD | Tot SD | 0,5m Cells | 1m Cells | 1,5m Cells | 2m Cells | 2,5m Cells | 3m Cells | 3,5m Cells | 4m cells | 4,5m Cells | 5m Cells | Tx | Col | Current | Amb | Tx Offset | Tx Slope | Sample | Cell05 | Cell1 | Cell1.5 | cell2 | Cell2.5 | cell3 | Cell3.5 | cell4 | Cell4.5 | cell5 | [mA]
10 | 150 | 50 | No | 0 | 0 | 2 | 2 | 2 | No | 2 | 6 | 0 | 1 | 1 | No | 1 | 1 | 0 | 2 | 3 | Yes | 2 | 2 | 4 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0.0081057 | 0.0007 | 0.00022935 | 9.9317e-05 | 9.2977e-06 | 1.0161e-05 | 1.1473e-05 | 1.287e-05 | 1.4268e-05 | 1.5646e-05 | 1.7023e-05 | 2.4004e-05 | 3.0985e-05 | 3.1063e-05 | 3.1141e-05 | 9.7268
10 | 30 | 50 | No | 0 | 0 | 2 | 2 | 2 | No | 2 | 6 | 0 | 1 | 1 | No | 1 | 1 | 0 | 2 | 2 | Yes | 2 | 2 | 4 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0.0021811 | 1.0007 | 0.00022935 | 9.9317e-05 | 9.2977e-06 | 1.0161e-05 | 1.1473e-05 | 1.287e-05 | 1.4268e-05 | 1.5646e-05 | 1.7023e-05 | 2.4004e-05 | 3.0985e-05 | 3.1063e-05 | 3.1141e-05 | 2.6174
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 1 | #DIV/0! | 2.0007 | 0.00022935 | 9.9317e-05 | 9.2977e-06 | 1.0161e-05 | 1.1473e-05 | 1.287e-05 | 1.4268e-05 | 1.5646e-05 | 1.7023e-05 | 2.4004e-05 | 3.0985e-05 | 3.1063e-05 | 3.1141e-05
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 1 | #DIV/0! | 3.0007 | 0.00022935 | 9.9317e-05 | 9.2977e-06 | 1.0161e-05 | 1.1473e-05 | 1.287e-05 | 1.4268e-05 | 1.5646e-05 | 1.7023e-05 | 2.4004e-05 | 3.0985e-05 | 3.1063e-05 | 3.1141e-05
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 1 | #DIV/0! | 4.0007 | 0.00022935 | 9.9317e-05 | 9.2977e-06 | 1.0161e-05 | 1.1473e-05 | 1.287e-05 | 1.4268e-05 | 1.5646e-05 | 1.7023e-05 | 2.4004e-05 | 3.0985e-05 | 3.1063e-05 | 3.1141e-05
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 5.0007 | 0.00022935 | 9.9317e-05 | 9.2977e-06 | 1.0161e-05 | 1.1473e-05 | 1.287e-05 | 1.4268e-05 | 1.5646e-05 | 1.7023e-05 | 2.4004e-05 | 3.0985e-05 | 3.1063e-05 | 3.1141e-05 | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 6.0007 | 0.00022935 | 9.9317e-05 | 9.2977e-06 | 1.0161e-05 | 1.1473e-05 | 1.287e-05 | 1.4268e-05 | 1.5646e-05 | 1.7023e-05 | 2.4004e-05 | 3.0985e-05 | 3.1063e-05 | 3.1141e-05 | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 7.0007 | 0.00022935 | 9.9317e-05 | 9.2977e-06 | 1.0161e-05 | 1.1473e-05 | 1.287e-05 | 1.4268e-05 | 1.5646e-05 | 1.7023e-05 | 2.4004e-05 | 3.0985e-05 | 3.1063e-05 | 3.1141e-05 | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 8.0007 | 0.00022935 | 9.9317e-05 | 9.2977e-06 | 1.0161e-05 | 1.1473e-05 | 1.287e-05 | 1.4268e-05 | 1.5646e-05 | 1.7023e-05 | 2.4004e-05 | 3.0985e-05 | 3.1063e-05 | 3.1141e-05 | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 9.0007 | 0.00022935 | 9.9317e-05 | 9.2977e-06 | 1.0161e-05 | 1.1473e-05 | 1.287e-05 | 1.4268e-05 | 1.5646e-05 | 1.7023e-05 | 2.4004e-05 | 3.0985e-05 | 3.1063e-05 | 3.1141e-05 | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 10.0007 | 0.00022935 | 9.9317e-05 | 9.2977e-06 | 1.0161e-05 | 1.1473e-05 | 1.287e-05 | 1.4268e-05 | 1.5646e-05 | 1.7023e-05 | 2.4004e-05 | 3.0985e-05 | 3.1063e-05 | 3.1141e-05 | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 11.0007 | 0.00022935 | 9.9317e-05 | 9.2977e-06 | 1.0161e-05 | 1.1473e-05 | 1.287e-05 | 1.4268e-05 | 1.5646e-05 | 1.7023e-05 | 2.4004e-05 | 3.0985e-05 | 3.1063e-05 | 3.1141e-05 | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12.0007 | 0.00022935 | 9.9317e-05 | 9.2977e-06 | 1.0161e-05 | 1.1473e-05 | 1.287e-05 | 1.4268e-05 | 1.5646e-05 | 1.7023e-05 | 2.4004e-05 | 3.0985e-05 | 3.1063e-05 | 3.1141e-05 | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 13.0007 | 0.00022935 | 9.9317e-05 | 9.2977e-06 | 1.0161e-05 | 1.1473e-05 | 1.287e-05 | 1.4268e-05 | 1.5646e-05 | 1.7023e-05 | 2.4004e-05 | 3.0985e-05 | 3.1063e-05 | 3.1141e-05 | #REF!
2

## BB (hidden)
SeaguardII DCP Power Calculator
Broad Band Mode
Configuration | [57 empty] | Average
Common |  |  |  |  | Column0 |  |  | Column1 | [5 empty] | Column2 | [5 empty] | Column3 | [37 empty] | Current Consumption
Interval [Min] | Number of pings | Depth [m] | Mode | Surface Cell | DC1 | Cell Size | #Cells | Distance to first cell [m] | Cell Size [m] | Number of Cells | Surface referenced | min SD | max SD | Distance to first cell | Cell Size [m] | Number of Cells | Surface referenced | min SD | max SD | Distance to first cell | Cell Size [m] | Number of Cells | Surface referenced | min SD | max SD | min tot SD | Tot SD | 0.5m Cells | 1m Cells | 1.5m Cells | 2m Cells | Tot 2m Cells | 2.5m Cells | 3m Cells | 3.5m Cells | 4m cells | 4.5m Cells | 5m Cells | Tx | Col | Current | Amb | TX | SurfaceCell | Cell2m | Cell15 | Cell1 | Cell25 | Cell3 | Tot_Sum | SumCell | Cell45 | Cell35 | Cell4 | Cell5 | Col | Cell05 | [mA]
10 | 150 | 50 |  | No | 2 | 2 | 7 | 2 | 2 | 2 | No | 2 | 6 | 1 | 1 | 0 | No | 1 | 1 | 2 | 3 | 0 | Yes | 2 | 2 | 2 | 4 | 0 | 0 | 0 | 2 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 3 | 0.023397 | 0.0013605 | 0.020766 | 0.016501 | 0.0046722 | 0.0030562 | 0.0014402 | 0.0060783 | 0.0074845 | 0.082306 | 0.025934 | 0.011125 | 0.0088907 | 0.010297 | 0.011953 | 0.0081456 | 0.0011092 | 28.0766
10 | 30 | 50 |  | No | 2 | 2 | 7 | 2 | 2 | 2 | No | 2 | 6 | 1 | 1 | 0 | No | 1 | 1 | 2 | 2 | 0 | Yes | 2 | 2 | 2 | 4 | 0 | 0 | 0 | 2 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 3 | 0.0059467 | 0.0013605 | 0.020766 | 0.016501 | 0.0046722 | 0.0030562 | 1.0014 | 0.0060783 | 0.0074845 | 0.082306 | 0.025934 | 0.011125 | 0.0088907 | 0.010297 | 0.011953 | 0.0081456 | 0.0011092 | 7.1361
0 | 0 | 0 |  | 0 | 2 | 2 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 1 | #DIV/0! | 0.0013605 | 0.020766 | 0.016501 | 0.0046722 | 0.0030562 | 2.0014 | 0.0060783 | 0.0074845 | 0.082306 | 0.025934 | 0.011125 | 0.0088907 | 0.010297 | 0.011953 | 0.0081456 | 0.0011092
0 | 0 | 0 |  | 0 | 2 | 2 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 1 | #DIV/0! | 0.0013605 | 0.020766 | 0.016501 | 0.0046722 | 0.0030562 | 3.0014 | 0.0060783 | 0.0074845 | 0.082306 | 0.025934 | 0.011125 | 0.0088907 | 0.010297 | 0.011953 | 0.0081456 | 0.0011092
0 | 0 | 0 |  | 0 | 2 | 2 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 1 | #DIV/0! | 0.0013605 | 0.020766 | 0.016501 | 0.0046722 | 0.0030562 | 4.0014 | 0.0060783 | 0.0074845 | 0.082306 | 0.025934 | 0.011125 | 0.0088907 | 0.010297 | 0.011953 | 0.0081456 | 0.0011092
#REF! | #REF! | #REF! |  | #REF! | 2 | 2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0.0013605 | 0.020766 | 0.016501 | 0.0046722 | 0.0030562 | 5.0014 | 0.0060783 | 0.0074845 | 0.082306 | 0.025934 | 0.011125 | 0.0088907 | 0.010297 | 0.011953 | 0.0081456 | 0.0011092 | #REF!
#REF! | #REF! | #REF! |  | #REF! | 2 | 2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0.0013605 | 0.020766 | 0.016501 | 0.0046722 | 0.0030562 | 6.0014 | 0.0060783 | 0.0074845 | 0.082306 | 0.025934 | 0.011125 | 0.0088907 | 0.010297 | 0.011953 | 0.0081456 | 0.0011092 | #REF!
#REF! | #REF! | #REF! |  | #REF! | 2 | 2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0.0013605 | 0.020766 | 0.016501 | 0.0046722 | 0.0030562 | 7.0014 | 0.0060783 | 0.0074845 | 0.082306 | 0.025934 | 0.011125 | 0.0088907 | 0.010297 | 0.011953 | 0.0081456 | 0.0011092 | #REF!
#REF! | #REF! | #REF! |  | #REF! | 2 | 2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0.0013605 | 0.020766 | 0.016501 | 0.0046722 | 0.0030562 | 8.0014 | 0.0060783 | 0.0074845 | 0.082306 | 0.025934 | 0.011125 | 0.0088907 | 0.010297 | 0.011953 | 0.0081456 | 0.0011092 | #REF!
#REF! | #REF! | #REF! |  | #REF! | 2 | 2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0.0013605 | 0.020766 | 0.016501 | 0.0046722 | 0.0030562 | 9.0014 | 0.0060783 | 0.0074845 | 0.082306 | 0.025934 | 0.011125 | 0.0088907 | 0.010297 | 0.011953 | 0.0081456 | 0.0011092 | #REF!
#REF! | #REF! | #REF! |  | #REF! | 2 | 2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0.0013605 | 0.020766 | 0.016501 | 0.0046722 | 0.0030562 | 10.0014 | 0.0060783 | 0.0074845 | 0.082306 | 0.025934 | 0.011125 | 0.0088907 | 0.010297 | 0.011953 | 0.0081456 | 0.0011092 | #REF!
#REF! | #REF! | #REF! |  | #REF! | 2 | 2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0.0013605 | 0.020766 | 0.016501 | 0.0046722 | 0.0030562 | 11.0014 | 0.0060783 | 0.0074845 | 0.082306 | 0.025934 | 0.011125 | 0.0088907 | 0.010297 | 0.011953 | 0.0081456 | 0.0011092 | #REF!
#REF! | #REF! | #REF! |  | #REF! | 2 | 2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0.0013605 | 0.020766 | 0.016501 | 0.0046722 | 0.0030562 | 12.0014 | 0.0060783 | 0.0074845 | 0.082306 | 0.025934 | 0.011125 | 0.0088907 | 0.010297 | 0.011953 | 0.0081456 | 0.0011092 | #REF!
#REF! | #REF! | #REF! |  | #REF! | 2 | 2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0.0013605 | 0.020766 | 0.016501 | 0.0046722 | 0.0030562 | 13.0014 | 0.0060783 | 0.0074845 | 0.082306 | 0.025934 | 0.011125 | 0.0088907 | 0.010297 | 0.011953 | 0.0081456 | 0.0011092 | #REF!

## Lists (hidden)
Cell Size | Number of Cells | Number of pings | Dist First Cell | True/False | Interval | Mode |  | Wave & Tide sensor
| 0 |  |  |  |  | Narrow Band | [16 empty] | Single Ping Standard Deviation
0.5 | 1 | 10 | 1 | Yes | 1 | Broad Band |  | Frequency |  |  |  | Number of Samples |  |  |  | Tidal Average period | [6 empty] | Cellsize | Narrow Band | Broad Band
1 | 2 | 20 | 1.1 | No | 2 |  |  | 1 | 2 Hz | 2 |  | 1 | No wave! | 0 |  | 1 | No Tide! | 0 |  |  |  |  | 0.5 | 90 | 6
1.5 | 3 | 30 | 1.2 |  | 3 |  |  | 2 | 4 Hz | 4 |  | 2 | 256 | 256 |  | 2 | 10s | 10 |  |  |  |  | 1 | 45 | 4.3
2 | 4 | 40 | 1.3 |  | 5 | [6 empty] | 3 | 512 | 512 |  | 3 | 20s | 20 |  |  |  |  | 1.5 | 30 | 3.5
2.5 | 5 | 50 | 1.4 |  | 6 | [6 empty] | 4 | 1024 | 1024 |  | 4 | 30s | 30 |  |  |  |  | 2 | 22 | 3
3 | 6 | 60 | 1.5 |  | 10 | [6 empty] | 5 | 2048 | 2048 |  | 5 | 40s | 40 |  |  |  |  | 2.5 | 18 | 2.7
3.5 | 7 | 70 | 1.6 |  | 15 | [10 empty] | 6 | 50s | 50 |  |  |  |  | 3 | 15 | 2.5
4 | 8 | 80 | 1.7 |  | 20 | [10 empty] | 7 | 1 min | 60 |  |  |  |  | 3.5 | 13 | 2.3
4.5 | 9 | 90 | 1.8 |  | 30 | [10 empty] | 8 | 2 min | 120 |  |  |  |  | 4 | 12 | 2.2
5 | 10 | 100 | 1.9 |  | 60 | [10 empty] | 9 | 3 min | 180 |  |  |  |  | 4.5 | 11 | 2
| 12 | 150 | 2 |  | 120 | [10 empty] | 10 | 4 min | 240 |  |  |  |  | 5 | 10 | 1.9
| 15 | 200 | 2.1 | [12 empty] | 11 | 5 min | 300
| 20 | 250 | 2.2 | [12 empty] | 12 | 6 min | 360
| 25 | 300 | 2.3 | [12 empty] | 13 | 7 min | 420
| 30 | 400 | 2.4 | [12 empty] | 14 | 8 min | 480
| 35 | 500 | 2.5
| 40 | 600 | 2.6
| 45 | 800 | 2.7
| 50 | 1200 | 2.8
| 55 | 2400 | 2.9
| 60 | 3600 | 3
| 65 |  | 3.5
| 70 |  | 4 | [6 empty] | Average power consumption [mA]
| 75 |  | 4.5 | [6 empty] | Pressure | Temperature | Conductivity | Oxygen
|  |  | 5 | [5 empty] | B13 | 0.27333 | 0.27333 | 0.24 | 0.24
|  |  | 5.5 | [5 empty] | B14 | 0.27333 | 0.27333 | 0.24 | 0.24
|  |  | 6 | [5 empty] | B15
|  |  | 6.5 | [5 empty] | B16
|  |  | 7 | [5 empty] | B17
7.5
|  |  | 8 | 1800 | [6 empty] | WT Current drain mA |  |  | T CURRENT DRAIN: |  |  | P CURRENT DRAIN |  |  | Average current drain
|  |  | 8.5 |  |  | Sampling frequency | Number of samples | Tidal average period | Wave Coefficient: | Tide Coefficients | AiCaP mode | RS-232 mode | RS-422 mode | AiCaP mode | RS-232 mode | RS-422 mode | AiCaP mode | RS-232 mode | RS-422 mode | AiCaP mode
|  |  | 9 |  | B13 | 4 | 0 | 2 | 0 | 0.0033333 | 0.4 | 0.4 | 1.1 | 0.42933 | 0.43333 | 1.132 | 0.409 | 2.8 | 3.3 | 0.42933 | s | 2
|  |  | 9.5 |  | B14 | 4 | 2048 | 2 | 0.85333 | 0.0033333 | 7.9093 | 512.4 | 492.62 | 0.42933 | 0.43333 | 1.132 | 0.409 | 2.8 | 3.3 | 7.9093 | s | 2
|  |  | 10 |  | B15 | #N/A | #N/A | #VALUE! |  |  |  | #N/A | #N/A |  | #N/A | #N/A |  | #DIV/0! | #DIV/0! | #N/A
|  |  | 11 |  | B16 | #N/A | #N/A | #VALUE! |  |  |  | #N/A | #N/A |  | #N/A | #N/A |  | #DIV/0! | #DIV/0! | #N/A
|  |  | 12 |  | B17 | #N/A | #N/A | #VALUE! |  |  |  | #N/A | #N/A |  | #N/A | #N/A |  | #DIV/0! | #DIV/0! | #N/A
13
14
15
16
17
18
19
20
22
24
26
28
30
32
34
36
38
40
42
44
46
48
50
55
60
65
70